## Operable
2019 Form EIA-860 Data - Schedule 3, 'Energy Storage Data' (Operable Units Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
9216 | Imperial Irrigation District | 389 | El Centro Hybrid | CA | Imperial | BESS | OP | Batteries | BA | Electric Utility | 1 | 30 | 28 | 29 | 10 | 2016 | 20 | 30 | 30 | LIB |  |  |  | 14.4 | BL | N | Y | Y | Y | N |  |  |  | Y |  | N
11843 | Maui Electric Co Ltd | 792 | Palaau Power Hybrid | HI | Maui | BAT1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 5 | 2017 | 2 | 0.5 | 0.5 | OTH |  |  |  | 2 | CS |  | Y
9273 | Indianapolis Power & Light Co | 990 | Harding Street | IN | Marion | BAT1 | OP | Batteries | BA | Electric Utility | 1 | 20 | 20 | 20 | 6 | 2016 | 20 | 20 | 20 | LIB |  |  |  | 20 | BL |  | Y
31719 | FPL Energy Wyman LLC | 1507 | William F Wyman Hybrid | ME | Cumberland | BESS | OP | Batteries | BA | IPP Non-CHP | 2 | 16.7 | 16.2 | 16.2 | 12 | 2016 | 10.9 | 16.7 | 16.2 | LIB |  |  |  | 10.2 | CS |  | Y
13206 | Nantucket Electric Co | 1615 | Nantucket Hybrid | MA | Nantucket | 20 | OP | Batteries | BA | Electric Utility | 1 | 6 | 6 | 6 | 7 | 2019 | 48 | 6 | 6 | LIB |  |  |  | 7 | BL | [5 empty] | Y |  |  |  | Y
3542 | Duke Energy Ohio Inc | 2830 | Walter C Beckjord | OH | Clermont | BECK1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2015 | 1 | 2 | 2 | OTH |  |  |  | 2 | CS |  | Y
3542 | Duke Energy Ohio Inc | 2830 | Walter C Beckjord | OH | Clermont | BECK2 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 11 | 2015 | 0.8 | 2 | 2 | OTH |  |  |  | 2 | CS |  | Y
10451 | Kotzebue Electric Assn Inc | 6304 | Kotzebue Hybrid | AK | NORTHWEST ARCTIC | ES1 | OP | Batteries | BA | Electric Utility | 1 | 1.2 | 1.2 | 1.2 | 12 | 2015 | 1 | 1.2 | 1.2 | LIB |  |  |  | 1.2 | CT |  | Y | Y | Y | Y |  | Y | Y |  | Y | Y
13683 | North Carolina El Member Corp | 6377 | Ocracoke Hybrid | NC | Hyde | BAT | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 1 | 2017 | 1 | 0.5 | 0.5 | LIB |  |  |  | 0 | CS | Y | [6 empty] | Y
17609 | Southern California Edison Co | 6704 | Pebbly Beach Generating Station Hybrid | CA | Los Angeles | NASB1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2012 | 6.8 | 1 | 1 | NAB |  |  |  | 0.8 | CS |  |  |  | Y |  |  | Y | Y | Y
189 | PowerSouth Energy Cooperative | 7063 | McIntosh (AL) | AL | Washington | 1 | OP | Natural Gas with Compressed Air Storage | CE | Electric Utility | 1 | 110 | 110 | 110 | 6 | 1991 | 110 | 52 | 110 |  |  |  |  | 0.9 | BL |  |  | Y |  |  |  | Y | Y | Y
54736 | VESI Pomona Energy Storage, Inc. | 50300 | VESI Pomona | CA | Los Angeles | BESS1 | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 12 | 2016 | 20 | 20 | 20 | LIB |  |  |  | 20 | BL |  | Y | Y |  |  |  | N | N | N | N
1752 | Biola University | 54296 | Biola University Hybrid | CA | Los Angeles | BATT | OP | Batteries | BA | Commercial CHP | 5 | 0.3 | 0.3 | 0.3 | 2 | 2018 | 0.5 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | CS | [6 empty] | Y | N
6862 | Green Mountain Storage, LLC | 55370 | Green Mountain Storage, LLC | PA | Somerset | BGM | OP | Batteries | BA | IPP Non-CHP | 2 | 10.4 | 10.4 | 10.4 | 5 | 2016 | 10.4 | 10.4 | 10.4 | LIB |  |  |  | 10.4 | CT |  | Y
17609 | Southern California Edison Co | 56472 | Grapeland Hybrid | CA | San Bernardino | BA1 | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 10 | 10 | 10 | LIB |  |  |  | 6 | BL | N | Y | N | Y | N | N | N | N | N | N | N
17609 | Southern California Edison Co | 56475 | Center Hybrid | CA | LOS ANGELES | BA1 | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 10 | 10 | 10 | LIB |  |  |  | 6 | BL | N | Y | N | Y | N | N | N | N | N | N | N
56023 | Arizona Solar One LLC | 56812 | Solana Generating Station | AZ | Maricopa | GEN 1 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 140 | 147.8 | 147.8 | 10 | 2013 | [16 empty] | Y |  |  | Y
56023 | Arizona Solar One LLC | 56812 | Solana Generating Station | AZ | Maricopa | GEN2 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 140 | 147.8 | 147.8 | 10 | 2013 | [16 empty] | Y |  |  | Y
56272 | Duke Energy DEGS Notrees | 56961 | Notrees Windpower Hybrid | TX | Ector | BATT | OP | Batteries | BA | IPP Non-CHP | 2 | 36 | 36 | 36 | 12 | 2012 | 13.6 | 36 | 36 | LIB |  |  |  | 36 | BL | N | Y | N | N | N | N | N | N | N | N | N
56215 | RWE Renewables Americas LLC | 56981 | Pyron Wind Farm LLC Hybrid | TX | Fisher | PYRBT | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 1 | 2018 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 3.3 | CS |  | Y
56215 | RWE Renewables Americas LLC | 56984 | Inadale Wind Farm LLC Hybrid | TX | Nolan | INABT | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 1 | 2018 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 3.3 | CS |  | Y
55963 | AE Power Services LLC | 57045 | Rolling Thunder Wind Farm Hybrid | SD | Hand | 2 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.8 | 0.8 | 0.8 | 11 | 2018 | 0.8 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | OT | [9 empty] | Y | Y
59155 | First Wind O&M, LLC | 57082 | Kaheawa Wind Power II LLC | HI | Maui | 2 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 6 | 2012 | 20 | 10 | 10 | LIB |  |  |  | 10 | BL |  | Y | Y | Y | Y |  |  |  | Y | Y | Y
56641 | Tonopah Solar Energy LLC | 57275 | Crescent Dunes Solar Energy | NV | Nye | TSE-1 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 125 | 110 | 110 | 11 | 2015
56678 | FPL Energy Illinois Wind LLC | 57325 | FPL Energy Illinois Wind LLC Hybrid | IL | DeKalb | BFT | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 11 | 2014 | 8.3 | 20 | 20 | LIB |  |  |  | 0 | CS |  | Y
19740 | AES Wind Generation Inc | 57447 | Laurel Mountain Hybrid | WV | Barbour | 2 | OP | Batteries | BA | IPP Non-CHP | 2 | 16 | 16 | 16 | 10 | 2011 | 16 | 16 | 16 | LIB |  |  |  | 0 | CS |  | Y
7353 | Golden Valley Elec Assn Inc | 57583 | Battery Energy Storage System | AK | Fairbanks North Star | BESS | OP | Batteries | BA | Electric Utility | 1 | 40 | 40 | 40 | 12 | 2003 | 11 | 4 | 40 | NIB |  |  |  | 46 | BL |  | Y |  | Y |  |  |  |  | Y |  | N
56918 | University of California San Diego | 57584 | University of California San Diego Hybrid | CA | San Diego | BS1 | OP | Batteries | BA | Commercial CHP | 5 | 2.5 | 2.5 | 2.5 | 12 | 2015 | 2.5 | 2.5 | 2.5 | LIB |  |  |  | 2.5 | CS |  |  | Y |  |  |  | Y | Y
57017 | DOE National Renewable Energy Laboratory | 57693 | DOE Golden NWTC Research Side Hybrid | CO | Jefferson | AESBT | OP | Batteries | BA | Commercial Non-CHP | 4 | 0.3 | 0.3 | 0.3 | 1 | 2019 | 0.3 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | CS | [10 empty] | Y
57017 | DOE National Renewable Energy Laboratory | 57693 | DOE Golden NWTC Research Side Hybrid | CO | Jefferson | NRELB | OP | Batteries | BA | Commercial Non-CHP | 4 | 1 | 1 | 1 | 1 | 2019 | 1 | 1 | 1 | LIB |  |  |  | 1 | CS | [10 empty] | Y
61978 | Convergent Energy and Power LP | 57710 | Stephentown Spindle | NY | Rensselaer | SRS1 | OP | Flywheels | FW | IPP Non-CHP | 2 | 20 | 20 | 20 | 1 | 2011 | 5 | 20 | 20 |  |  |  |  | 0 | CS |  | Y
61978 | Convergent Energy and Power LP | 57716 | Hazle Spindle | PA | Luzerne | HRS1 | OP | Flywheels | FW | IPP Non-CHP | 2 | 20 | 20 | 20 | 9 | 2013 | 5 | 20 | 20 |  |  |  |  | 0 | CS |  | Y
57372 | Auwahi Wind Energy LLC | 57996 | Auwahi Wind Energy Hybrid | HI | Maui | AWEB | OP | Batteries | BA | IPP Non-CHP | 2 | 11 | 11 | 11 | 12 | 2012 | 4.4 | 11 | 11 | LIB |  |  |  | 5.4 | CS |  | Y |  | Y
10433 | Kodiak Electric Assn Inc | 58405 | ESS Battery Microgrid | AK | Kodiak Island | 1 | OP | Batteries | BA | Electric Utility | 1 | 3 | 3 | 3 | 11 | 2012 | 3 | 3 | 3 | PBB |  |  |  | 3 | CS | N | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
58462 | Battery Utility of Ohio LLC | 58475 | Battery Utility of Ohio | OH | Delaware | BOU | OP | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 | 3 | 2014 | 2 | 4 | 4 | LIB |  |  |  | 4 | CS |  | Y
58489 | OCI Solar Power | 58537 | OCI Alamo Solar I Hybrid | TX | Bexar | ASTRO | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 8 | 2016 | 0.3 | 1 | 1 | LIB |  |  |  | 0.6 | CS |  | Y
13781 | Northern States Power Co - Minnesota | 58579 | Laverne Battery | MN | Rock | 1 | OP | Batteries | BA | Electric Utility | 1 | 1.1 | 1 | 1 | 1 | 2013 | 7.6 | 1 | 1 | NAB |  |  |  | 1.3 | CS | [5 empty] | Y
58544 | Sierra Nevada Brewing Co | 58585 | Sierra Nevada Brewing Co Hybrid | CA | Butte | BESS | OP | Batteries | BA | Industrial CHP | 7 | 0.5 | 0.5 | 0.5 | 2 | 2017 | 1 | 0.5 | 0.5 | LIB |  |  |  | 0.5 | OT | [6 empty] | Y | N |  |  | Y
58549 | County of Alameda GSA | 58625 | Santa Rita Jail Hybrid | CA | Alameda | SRJBA | OS | Batteries | BA | IPP CHP | 3 | 2 | 2 | 2 | 7 | 2012 | 4 | 0.3 | 0.3 | LIB |  |  |  | 2 | CS | [6 empty] | Y
10071 | Kauai Island Utility Cooperative | 58639 | KRS I Anahola Solar Hybrid | HI | Kauai | B5B6 | OP | Batteries | BA | Electric Utility | 1 | 6 | 6 | 6 | 8 | 2015 | 4.6 | 2 | 6 | LIB |  |  |  | 6 | CS |  | Y |  |  | Y |  |  |  |  | Y | Y
15473 | Public Service Co of NM | 58899 | Prosperity Energy Storage Facility Hybrid | NM | Bernalillo | GEN-2 | OP | Batteries | BA | Electric Utility | 1 | 0.8 | 0.8 | 0.8 | 9 | 2011 | 1.3 | 0.5 | 0.5 | PBB |  |  |  | 0.8 | CS | Y | [5 empty] | Y | Y |  |  | Y
14328 | Pacific Gas & Electric Co. | 59256 | Vaca Dixon Battery Storage System | CA | Solano | BAT1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2013 | 14 | 2 | 2 | NAB |  |  |  | 2.5 | CS | Y | Y |  | Y
14328 | Pacific Gas & Electric Co. | 59257 | Yerba Buena | CA | Santa Clara | YB1 | OP | Batteries | BA | Electric Utility | 1 | 4 | 4 | 4 | 11 | 2013 | 28 | 4 | 4 | NAB |  |  |  | 5 | CS | Y | Y |  | Y | [5 empty] | Y
17609 | Southern California Edison Co | 59661 | Tehachapi Energy Storage Project | CA | Kern | TSP1 | OP | Batteries | BA | Electric Utility | 1 | 8 | 8 | 8 | 4 | 2016 | 32 | 8 | 8 | LIB |  |  |  | 4 | BL | N | N | N | Y | N |  | N |  | N |  | N
10000 | Evergy Metro | 59772 | KCP&L SmartGrid Innovation Park | MO | Jackson | 1 | SB | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 6 | 2012 | 1 | 1 | 1 | LIB |  |  |  | 1.3 | CS | [6 empty] | Y
59712 | AES Tait LLC | 59949 | AES Warrior Run Energy Storage Project | MD | Allegany | BESS1 | OP | Batteries | BA | IPP Non-CHP | 2 | 11 | 5 | 5 | 12 | 2015 | 5 | 5 | 5 | LIB |  |  |  | 5 | BL |  | Y
49893 | Invenergy Services LLC | 59957 | Grand Ridge Battery Projects | IL | LaSalle | GIVB | OP | Batteries | BA | IPP Non-CHP | 2 | 1.5 | 1.5 | 1.5 | 12 | 2013 | 1 | 1.5 | 1.5 | LIB |  |  |  | 0.5 | CT |  | Y
49893 | Invenergy Services LLC | 59957 | Grand Ridge Battery Projects | IL | LaSalle | GRES | OP | Batteries | BA | IPP Non-CHP | 2 | 31.5 | 31.5 | 31.5 | 3 | 2015 | 12.5 | 31.5 | 31.5 | LIB |  |  |  | 0.5 | CT |  | Y
59718 | West Chicago Battery Storage LLC | 59959 | Elwood Energy Storage Center | IL | DuPage | WCBS | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 10 | 2015 | 7.9 | 19.8 | 19.8 | LIB |  |  |  | 22 | CS | N | Y
59717 | Joliet Battery Storage LLC | 59960 | Jake Energy Storage Center | IL | Will | JBS | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 9 | 2015 | 7.9 | 19.8 | 19.8 | LIB |  |  |  | 22 | CS |  | Y
6452 | Florida Power & Light Co | 59993 | Babcock Solar Energy Center Hybrid | FL | Charlotte | BA | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 3 | 2018 | 40 | 10 | 10 | LIB |  |  |  | 7 | CS |  |  |  |  | Y | [5 empty] | Y
733 | Appalachian Power Co | 59995 | AEP Milton NaS | WV | Cabell | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 11 | 2009 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
17470 | PUD 1 of Snohomish County | 60016 | MESA 1 | WA | Snohomish | A | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 7 | 2015 | 0.5 | 1 | 1 | LIB |  |  |  | 0.9 | CS | Y | [5 empty] | Y | Y
17470 | PUD 1 of Snohomish County | 60016 | MESA 1 | WA | Snohomish | B | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 2 | 2016 | 0.5 | 1 | 1 | LIB |  |  |  | 0.9 | CS | Y | [5 empty] | Y | Y
17470 | PUD 1 of Snohomish County | 60021 | MESA 2 | WA | Snohomish | MESA2 | OA | Batteries | BA | Electric Utility | 1 | 2.4 | 2.2 | 2.2 | 7 | 2017 | 8 | 2.2 | 2.2 | FLB |  |  |  | 2.2 | CS | Y | [5 empty] | Y | Y
6452 | Florida Power & Light Co | 60061 | Citrus Solar Energy Center Hybrid | FL | DeSoto | BA | OP | Batteries | BA | Electric Utility | 1 | 4 | 4 | 4 | 3 | 2018 | 16 | 4 | 4 | LIB |  |  |  | 0 | CS |  |  |  |  | Y | [5 empty] | Y
61123 | Upton County Solar 2 LLC | 60123 | Castle Gap Solar Hybrid | TX | Upton | BAT1 | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 6 | 2019 | 42 | 9.9 | 9.9 | LIB |  |  |  | 4.8 | CS |  | Y | Y | [7 empty] | Y
59997 | Customized Energy Solutions | 60213 | NA 1(Hagerstown) | MD | Washington | MPSHG | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 4 | 2017 | 1 | 2 | 2 | LIB |  |  |  | 2 | CS |  | Y
60947 | Tesla Inc. | 60231 | Genentech-Oceanside Hybrid | CA | San Diego | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 4 | 2016 | 2 | 1 | 1 | LIB |  |  |  | 1 | CS | [7 empty] | Y |  | Y | Y
60094 | Clinton Battery Utility, LLC | 60297 | Clinton Battery | OH | Clinton | 1 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 10 | 2016 | 4.1 | 10 | 10 | LIB |  |  |  | 3.2 | CS |  | Y
59209 | Half Moon Ventures, LLC | 60299 | HMV Minster Energy Storage System | OH | Auglaize | MIN02 | OP | Batteries | BA | IPP Non-CHP | 2 | 7 | 7 | 7 | 3 | 2016 | 7 | 7 | 7 | LIB |  |  |  | 5.3 | CS |  | Y | [5 empty] | Y | Y
49893 | Invenergy Services LLC | 60390 | Beech Ridge Energy Storage | WV | Greenbrier | BRES | OP | Batteries | BA | IPP Non-CHP | 2 | 31.5 | 31.5 | 31.5 | 10 | 2015 | 12.5 | 31.5 | 31.5 | LIB |  |  |  | 0.5 | CT |  | Y
15248 | Portland General Electric Co | 60441 | Salem Smart Power Center | OR | Marion | SSPC | SB | Batteries | BA | Electric Utility | 1 | 5 | 5 | 5 | 8 | 2013 | 1.3 | 5 | 5 | LIB |  |  |  | 5 | BL |  | Y |  |  | Y |  | Y | Y
15500 | Puget Sound Energy Inc | 60444 | Glacier Battery Storage | WA | Whatcom | GLA | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2016 | 4.4 | 2 | 2 | LIB |  |  |  | 2 | CT | Y | Y | Y | Y |  |  | Y |  |  | Y
60278 | 64KT 8me LLC | 60491 | Springbok 3 Solar Farm Hybrid | CA | Kern | SB3BS | OP | Batteries | BA | IPP Non-CHP | 2 | 1.5 | 1.5 | 1.5 | 7 | 2019 | 1.5 | 1.5 | 1.5 | LIB |  |  |  | 1.5 | CT |  | Y | [6 empty] | Y |  | Y
50174 | Electric Transmission Texas LLC | 60506 | ETT Presidio NaS Battery | TX | Presidio | BOB | OP | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 | 3 | 2010 | 4 | 4 | 4 | NAB |  |  |  | 4 | BL | [9 empty] | Y
7601 | Green Mountain Power Corp | 60518 | Stafford Hill Solar Hybrid | VT | Rutland | BA1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2015 | 3.4 | 2 | 2 | LIB | PBB |  |  | 0.5 | CS |  | Y |  |  |  |  | Y |  |  |  | Y
60947 | Tesla Inc. | 60546 | KIUC Kapaia PV and BA Storage Project Hybrid | HI | Kauai | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 13 | 11 | 11 | 5 | 2017 | 52 | 11 | 11 | LIB |  |  |  | 7.8 | CS | [10 empty] | Y
7140 | Georgia Power Co | 60561 | Cedartown Battery Energy Storage Project | GA | Polk | 1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2015 | 2 | 1 | 1 | LIB |  |  |  | 1.5 | CT |  |  | N |  | Y | Y | Y | Y | N |  | Y
7601 | Green Mountain Power Corp | 60562 | GMP Solar - Panton Hybrid | VT | Addison | GMPBP | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 6 | 2018 | 4 | 1 | 1 | LIB |  |  |  | 1 | OT |  | Y |  |  |  |  | Y |  |  |  | Y
10433 | Kodiak Electric Assn Inc | 60563 | Flywheel Energy Storage System Microgrid | AK | Kodiak Island | FESS | OP | Flywheels | FW | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2015 | 2 | 2 | 2 |  |  |  |  | 2 | CS |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
60336 | SDGE Batteries | 60565 | Borrego Springs Energy Storage | CA | San Diego | SES1 | OP | Batteries | BA | Electric Utility | 1 | 0.5 | 0.5 | 0.5 | 12 | 2012 | 1.5 | 0.5 | 0.5 | LIB |  |  |  | 1.5 | CS | N | [5 empty] | Y |  |  | N
60336 | SDGE Batteries | 60565 | Borrego Springs Energy Storage | CA | San Diego | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 2 | 2014 | 3 | 1 | 1 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | Y
60336 | SDGE Batteries | 60566 | Pala Energy Storage Yard | CA | San Diego | SES1 | OP | Batteries | BA | Electric Utility | 1 | 0.5 | 0.5 | 0.5 | 12 | 2012 | 1.5 | 0.5 | 0.5 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | N | N
60336 | SDGE Batteries | 60566 | Pala Energy Storage Yard | CA | San Diego | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2015 | 2 | 1 | 1 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | N | N
60336 | SDGE Batteries | 60567 | Ortega Highway Energy Storage | CA | Orange | SES1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 5 | 2015 | 3 | 1 | 1 | LIB |  |  |  | 2 | CS | [6 empty] | Y | Y |  | Y
60336 | SDGE Batteries | 60567 | Ortega Highway Energy Storage | CA | Orange | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2015 | 3 | 1 | 1 | LIB |  |  |  | 2 | CS | [6 empty] | Y | Y |  | Y
60336 | SDGE Batteries | 60568 | Canyon Crest Academy | CA | San Diego | SES | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2014 | 3 | 1 | 1 | LIB |  |  |  | 1 | CS | [6 empty] | Y | Y |  | Y
16609 | San Diego Gas & Electric Co | 60569 | El Cajon Energy Storage | CA | San Diego | SES | OP | Batteries | BA | Electric Utility | 1 | 7.5 | 7.5 | 7.5 | 2 | 2017 | 30 | 7.5 | 7.5 | LIB |  |  |  | 7.5 | CS | Y | [8 empty] | Y
16609 | San Diego Gas & Electric Co | 60570 | Escondido Energy Storage | CA | San Diego | SES | OP | Batteries | BA | Electric Utility | 1 | 30 | 30 | 30 | 3 | 2017 | 120 | 30 | 30 | LIB |  |  |  | 30 | CS | Y
60947 | Tesla Inc. | 60607 | CMEEC - Polaris Park Solar Hybrid | CT | New London | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.8 | 0.8 | 0.8 | 8 | 2017 | 3.3 | 0.8 | 0.8 | LIB |  |  |  | 1 | CS | [10 empty] | Y
60947 | Tesla Inc. | 60609 | CMEEC - Norwich Stott St Solar Hybrid | CT | New London | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.8 | 0.8 | 0.8 | 12 | 2016 | 3 | 0.8 | 0.8 | LIB |  |  |  | 1 | CS | [6 empty] | N |  |  | Y | Y
9324 | Indiana Michigan Power Co | 60617 | AEP Churubusco NaS | IN | Whitley | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2009 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
14006 | Ohio Power Co | 60618 | AEP Bluffton NaS | OH | Allen | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 12 | 2008 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
57170 | EDF Renewable Asset Holdings, Inc. | 60656 | McHenry Battery Storage | IL | McHenry | MCH1 | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 2 | 2016 | 7.8 | 19.8 | 19.8 | LIB |  |  |  | 6.1 | CS |  | Y
60394 | Willey Battery Utility, LLC | 60660 | Willey Battery Utility | OH | Hamilton | WBU | OP | Batteries | BA | IPP Non-CHP | 2 | 6 | 6 | 6 | 1 | 2016 | 2 | 6 | 6 | LIB |  |  |  | 6 | CS |  | Y
17609 | Southern California Edison Co | 60661 | Mira Loma Energy Storage Facility | CA | San Bernardino | 013A | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 40 | 10 | 10 | LIB |  |  |  | 3.3 | CS | Y | Y | Y | Y |  | Y | Y | Y | Y
17609 | Southern California Edison Co | 60661 | Mira Loma Energy Storage Facility | CA | San Bernardino | 013B | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 40 | 10 | 10 | LIB |  |  |  | 3.3 | CS | Y | Y | Y | Y |  | Y | Y | Y | Y
60409 | Blue Summit Storage, LLC | 60690 | Blue Summit Storage, LLC | TX | Wilbarger | WBSS | OP | Batteries | BA | IPP Non-CHP | 2 | 30 | 30 | 30 | 8 | 2017 | 12.6 | 30 | 30 | LIB |  |  |  | 12.5 | CS |  | Y
61198 | esVolta LP | 60760 | Millikan BESS | CA | Orange | PE101 | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 12 | 2016 | 8 | 2 | 2 | LIB |  |  |  | 2 | BL | Y | Y |  |  |  |  | N
60947 | Tesla Inc. | 60815 | Hampshire College Hybrid | MA | Hampshire | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.5 | 0.5 | 0.5 | 5 | 2017 | 0.5 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | CS | [6 empty] | Y |  |  | Y | Y
60947 | Tesla Inc. | 60815 | Hampshire College Hybrid | MA | Hampshire | BA2 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.5 | 0.5 | 0.5 | 12 | 2017 | 0.5 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | CS | [6 empty] | Y |  |  | Y | Y
60471 | Mt. Tom Solar, LLC | 60906 | Mt. Tom Solar Project Hybrid | MA | Hampden | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 3.1 | 3.1 | 3.1 | 3 | 2019 | 6.1 | 2 | 3.1 | LIB |  |  |  | 2.3 | CS | [6 empty] | N | Y |  |  | Y
58375 | Sterling Municipal Light Department | 60959 | Chocksett Rd Energy Storage Project | MA | Worcester | BA1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 3.9 | 3.9 | 4 | 2017 | 3.9 | 2 | 2 | LIB |  |  |  | 1 | CS | [9 empty] | Y
7294 | City of Glendale - (CA) | 60974 | Glendale Battery Energy Storage System | CA | Los Angeles | 2BESS | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 10 | 2017 | 1 | 1 | 2 | LIB |  |  |  | 2 | CS | [5 empty] | Y
60633 | Iron Horse Battery Storage, LLC | 60996 | Iron Horse Battery Storage Hybrid | AZ | Pima | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 4 | 2017 | 2.5 | 10 | 10 | LIB |  |  |  | 10 | CS |  | Y | [8 empty] | Y
60691 | AES LAWAI SOLAR, LLC | 61068 | AES LAWAI SOLAR Hybrid | HI | Kauai | LAWA2 | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 12 | 2018 | 100 | 20 | 20 | LIB |  |  |  | 20 | CS | [6 empty] | Y |  |  |  | Y
60723 | VRF Battery Plant | 61107 | Vanadium Redox Flow Battery Plant | CA | San Diego | VRF | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 6 | 2017 | 8 | 2 | 2 | FLB |  |  |  | 2.3 | CS |  | Y | Y |  | Y |  | Y | Y | Y |  | N
60834 | Pima Energy Storage System | 61197 | Pima Energy Storage System | AZ | Pima | PIMA | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 1 | 2017 | 2.5 | 8 | 10 | LIB |  |  |  | 2.9 | CS |  | Y
17633 | Southern Indiana Gas & Elec Co | 61334 | Volkman Road Solar Array Hybrid | IN | Vanderburgh | VRSA2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 1 | 2019 | 4.6 | 1 | 1 | LIB |  |  |  | 1.2 | CT | [6 empty] | Y |  |  |  | Y
54888 | NRG Texas Power LLC | 61362 | NRG Elbow Creek Energy Storage Project | TX | Howard | ECBS | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 11 | 2017 | 0.7 | 2 | 2 | LIB |  |  |  | 2 | CS | Y | Y | [8 empty] | N
11208 | Los Angeles Department of Water & Power | 61431 | Beacon BESS 1 | CA | Kern | BCNB1 | OA | Batteries | BA | Electric Utility | 1 | 20 | 20 | 20 | 10 | 2018 | 10 | 20 | 20 | LIB |  |  |  | 15 | CS |  | Y |  |  | Y |  |  |  | Y |  | Y
15466 | Public Service Co of Colorado | 61439 | Panasonic Carport Solar Hybrid | CO | Adams | PANBS | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2017 | 2.2 | 1 | 1 | LIB |  |  |  | 1 | CS | Y | Y |  | Y | [5 empty] | Y | Y
61091 | Hopewell Valley High School | 61473 | Hopewell Valley High School Hybrid | NJ | Mercer | BA1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 12 | 2015 | 1 | 0.5 | 0.5 | LIB |  |  |  | 0.5 | BL | [10 empty] | Y
13478 | Entergy New Orleans, LLC | 61647 | New Orleans Solar Power Plant | LA | Orleans | NOSPB | OP | Batteries | BA | Electric Utility | 1 | 0.5 | 0.5 | 0.5 | 6 | 2016 | 0.5 | 0.5 | 0.5 | LIB |  |  |  | 0.4 | CS |  | Y |  |  | Y |  |  | Y | Y |  | Y
61277 | Vista Energy Storage, LLC | 61661 | Vista Energy Storage System | CA | San Diego | VISTA | OP | Batteries | BA | IPP Non-CHP | 2 | 40 | 40 | 40 | 6 | 2018 | 40 | 40 | 40 | LIB |  |  |  | 40 | BL | Y | Y |  | Y
61295 | Pinal Central Energy Center, LLC | 61678 | Pinal Central Energy Center Hybrid | AZ | Pinal | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 4 | 2018 | 40 | 10 | 10 | LIB |  |  |  | 10 | CS | [6 empty] | Y |  |  |  | Y
17833 | City Utilities of Springfield - (MO) | 61679 | Cox Battery Energy Storage | MO | Greene | 1 | OP | Batteries | BA | Electric Utility | 1 | 1.2 | 1.2 | 1.2 | 9 | 2017 | 1.5 | 1.2 | 1 | PBB |  |  |  | 1.2 | CS | [7 empty] | Y
61344 | Advanced Microgrid Solutions | 61721 | HEBT WLA 1 | CA | Orange | WLA01 | OP | Batteries | BA | Commercial Non-CHP | 4 | 1 | 1 | 1 | 8 | 2019 | 6.9 | 1 | 1 | LIB |  |  |  | 1 | OT | Y | [5 empty] | Y | Y
61344 | Advanced Microgrid Solutions | 61722 | HEBT Irvine 1 | CA | Orange | IRV01 | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 5 | 2018 | 6.5 | 1 | 1 | LIB |  |  |  | 1 | OT | [6 empty] | Y | Y
61344 | Advanced Microgrid Solutions | 61722 | HEBT Irvine 1 | CA | Orange | IRV1W | OP | Batteries | BA | IPP Non-CHP | 2 | 4.5 | 4.5 | 4.5 | 5 | 2018 | 27 | 4.5 | 4.5 | LIB |  |  |  | 4.5 | OT | [6 empty] | Y | Y
61344 | Advanced Microgrid Solutions | 61723 | HEBT Irvine 2 | CA | Orange | IRV06 | OP | Batteries | BA | IPP Non-CHP | 2 | 2.5 | 2.5 | 2.5 | 8 | 2018 | 15 | 2.5 | 2.5 | LIB |  |  |  | 2.5 | OT | [6 empty] | Y | Y
61344 | Advanced Microgrid Solutions | 61723 | HEBT Irvine 2 | CA | Orange | IRV2W | OP | Batteries | BA | IPP Non-CHP | 2 | 3.3 | 3.3 | 3.3 | 2 | 2018 | 19.8 | 3.3 | 3.3 | LIB |  |  |  | 3.3 | OT | [6 empty] | Y | Y
58764 | Origis Energy USA, Inc | 61730 | MA Solar Storage 1 Hybrid | MA | Worcester | 61730 | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 4 | 2018 | 2 | 1 | 1 | LIB |  |  |  | 1 | CS | Y | [5 empty] | Y |  |  |  | Y
61364 | Lockheed Martin RMS Syracuse | 61739 | Lockheed Martin RMS Syracuse | NY | Onondaga | SYR1 | OP | Batteries | BA | Industrial Non-CHP | 6 | 1 | 1 | 1 | 8 | 2017 | 1.3 | 1 | 1 | LIB |  |  |  | 1 | CS | Y | [5 empty] | Y | Y
1015 | Austin Energy | 61741 | Kingsberry Energy Storage System | TX | Travis | KBESS | OP | Batteries | BA | Electric Utility | 1 | 1.5 | 1.5 | 1.5 | 9 | 2018 | 3 | 1.5 | 1.5 | LIB |  |  |  | 1.5 | CS | Y |  | Y |  | Y |  | Y | Y | Y | N | Y
1015 | Austin Energy | 61742 | System Control Center | TX | Travis | GEN1 | SB | Flywheels | FW | Electric Utility | 1 | 2.5 | 2.5 | 2.5 | 6 | 2012 | 2.5 | 2.5 | 2.5 |  |  |  |  | 0 | CS | [9 empty] | Y
1015 | Austin Energy | 61742 | System Control Center | TX | Travis | GEN2 | SB | Flywheels | FW | Electric Utility | 1 | 2.5 | 2.5 | 2.5 | 6 | 2012 | 2.5 | 2.5 | 2.5 |  |  |  |  | 0 | CS | [9 empty] | Y
19547 | Hawaiian Electric Co Inc | 61851 | Campbell Industrial Park BESS | HI | Honolulu | CIPB1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 3 | 2016 | 0.3 | 1 | 1 | LIB |  |  |  | 1 | CS |  |  | Y |  | Y |  |  |  | Y
61482 | AES ES GILBERT, LLC | 61861 | AES ES GILBERT | AZ | Maricopa | SRP | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 1 | 2019 | 40 | 10 | 10 | LIB |  |  |  | 10 | BL | Y
61506 | Stryker 22, L.L.C. | 61891 | Stryker 22, L.L.C. | NJ | Warren | EDGRD | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 12 | 2018 | 19.8 | 19.8 | 19.8 | LIB |  |  |  | 19.8 | CS |  | Y
61507 | Plumsted 537 LLC | 61892 | Plumsted 537 LLC | NJ | Ocean | PLMST | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 2 | 2019 | 19.8 | 19.8 | 19.8 | LIB |  |  |  | 19.8 | CS |  | Y
61513 | Redstone Solar I, LLC | 61901 | Redstone Arsenal Hybrid | AL | Madison | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 12 | 2017 | 2 | 0.5 | 0.5 | LIB |  |  |  | 1 | CS | Y | [9 empty] | Y
4254 | Consumers Energy Co | 61909 | Parkview Battery | MI | Kalamazoo | PKVWB | OP | Batteries | BA | Electric Utility | 1 | 1.1 | 1 | 1 | 9 | 2018 | 1 | 1.1 | 1.1 | LIB |  |  |  | 1.1 | CS | [6 empty] | Y |  |  |  | Y
803 | Arizona Public Service Co | 61913 | Punkin Center Battery Storage | AZ | Gila | B1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 6 | 2018 | 8 | 2 | 2 | LIB |  |  |  | 2.2 | CS |  | Y | [7 empty] | Y
61522 | Viridity Energy Solutions, Inc. | 61923 | ACUA | NJ | Atlantic | VACUA | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 6 | 2018 | 1 | 1 | 1 | LIB |  |  |  | 1 | CS |  | Y
61531 | Casa Mesa Wind, LLC | 61925 | Casa Mesa Wind Energy Center Hybrid | NM | Quay | CMNMB | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 11 | 2018 | 1 | 1 | 1 | LIB |  |  |  | 12.5 | CS |  | Y | [8 empty] | Y
60146 | Ameresco Federal Solutions | 61956 | MCRD Parris Island PV Hybrid | SC | Beaufort | TBESS | OP | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 | 12 | 2018 | 4 | 4 | 4 | LIB |  |  |  | 4 | CS | [10 empty] | Y
61576 | Ameren Illinois | 61990 | TAC-Distributed Energy Resource Hybrid | IL | Champaign | BA | OP | Batteries | BA | Electric Utility | 1 | 0.3 | 0.3 | 0.3 | 5 | 2017 | 0.5 | 0.3 | 0.3 | LIB |  |  |  | 0.3 | CT | N | [5 empty] | N | N |  | Y
61872 | Gavilan District College Solar Project | 61993 | Gavilan District College Solar Project | CA | Santa Clara | GDCBA | OP | Batteries | BA | IPP Non-CHP | 2 | 0.5 | 0.5 | 0.5 | 6 | 2019 | 0.5 | 0.2 | 0.3 | LIB |  |  |  | 0.3 | CS | [9 empty] | N | Y
61591 | Solar University, LLC | 61995 | UC Merced Solar Hybrid | CA | Merced | UCMBA | OP | Batteries | BA | IPP Non-CHP | 2 | 0.5 | 0.5 | 0.5 | 12 | 2018 | 0.9 | 0.5 | 0.5 | LIB |  |  |  | 0.5 | CS | N | [5 empty] | Y |  |  |  | Y
61597 | Caldwell Wastewater Treatment Plant | 62027 | Caldwell Wastewater Treatment Plant Hybrid | NJ | Essex | BAT1 | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 0.5 | 0.5 | 12 | 2016 | 2 | 0.5 | 0.5 | OTH |  |  |  | 0.5 | OT |  | Y |  |  | Y |  |  |  |  | Y | Y
61687 | KCE NY 1, LLC | 62147 | KCE NY 1 | NY | Saratoga | KNY1 | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 3 | 2019 | 8.4 | 20 | 20 | LIB |  |  |  | 6.5 | CS |  | Y
11806 | Massachusetts Mun Wholes Electric Co | 62219 | Ashburnham Energy Storage Project | MA | Worcester | AMLPB | OP | Batteries | BA | Electric Utility | 1 | 3 | 3 | 3 | 3 | 2019 | 3 | 3 | 3 | LIB |  |  |  | 3 | CT | [5 empty] | N | Y
2144 | Town of Braintree - (MA) | 62257 | Station 9 Energy Storage System | MA | Norfolk | ESS1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 6 | 2018 | 4.2 | 2 | 2 | LIB |  |  |  | 2 | CS | [6 empty] | Y
19499 | United Power, Inc | 62373 | I25 Battery Storage | CO | Weld | I25BA | OP | Batteries | BA | Electric Utility | 1 | 4 | 4 | 4 | 12 | 2018 | 16 | 4 | 4 | LIB |  |  |  | 0.4 | CS | [6 empty] | Y
7601 | Green Mountain Power Corp | 62381 | GMP Solar/Storage-Milton Hybrid | VT | Chittenden | GMPBM | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2019 | 8 | 2 | 2 | LIB |  |  |  | 2 | OT |  | Y | Y |  |  |  | Y | Y |  |  | Y
7601 | Green Mountain Power Corp | 62382 | GMP Solar/Storage-Ferrisburgh Hybrid | VT | Addison | GMPBF | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2019 | 8 | 2 | 2 | LIB |  |  |  | 2 | OT |  | Y | Y |  |  |  | Y | Y |  |  | Y
7601 | Green Mountain Power Corp | 62383 | GMP Solar/Storage-Essex Hybrid | VT | Chittenden | GMPBE | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2019 | 8 | 2 | 2 | LIB |  |  |  | 2 | OT |  | Y | N |  |  |  | Y | Y |  |  | Y
61728 | GlidePath Power Operations LLC | 62444 | Meyersdale Battery | PA | Somerset | BMY | OP | Batteries | BA | IPP Non-CHP | 2 | 18 | 18 | 18 | 12 | 2015 | 12.1 | 18 | 18 | LIB |  |  |  | 18 | CT |  | Y
12341 | MidAmerican Energy Co | 62569 | Knoxville Battery Energy Storage | IA | Marion | ES1 | OP | Batteries | BA | Electric Utility | 1 | 1.1 | 1.1 | 1.1 | 12 | 2018 | 4 | 1.1 | 1.1 | LIB |  |  |  | 1.1 | CS | Y
11806 | Massachusetts Mun Wholes Electric Co | 62585 | Beebe Substation Battery Storage | MA | Middlesex | WAKFD | OP | Batteries | BA | Electric Utility | 1 | 3 | 3 | 3 | 3 | 2019 | 3 | 3 | 3 | LIB |  |  |  | 3 | CT | [6 empty] | Y
16604 | City of San Antonio - (TX) | 62609 | Commerce ESS | TX | Bexar | BA1 | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 6 | 2019 | 10 | 10 | 10 | LIB |  |  |  | 10 | CS | Y | Y | [8 empty] | Y
62122 | Minuteman Eenergy Storage, LLC | 62644 | Minuteman Energy Storage | MA | Middlesex | MMES | OP | Batteries | BA | IPP Non-CHP | 2 | 5 | 5 | 5 | 5 | 2019 | 10 | 5 | 5 | LIB |  |  |  | 5 | CS | [6 empty] | Y | Y
62123 | SunRaise Investments, LLC | 62652 | Happy Hollow CSG Hybrid | MA | Worcester | HHESS | OP | Batteries | BA | IPP Non-CHP | 2 | 3.3 | 3.3 | 3.3 | 10 | 2019 | 6.6 | 3.3 | 3.3 | LIB |  |  |  | 3.3 | CS | N | N | [8 empty] | Y
61204 | Today's Power, Inc. | 62682 | Noland Wastewater Treatment Plant Hybrid | AR | Washington | FAYEB | OP | Batteries | BA | Commercial Non-CHP | 4 | 6 | 6 | 6 | 7 | 2019 | 13.1 | 6 | 6 | LIB |  |  |  | 6 | BL | [6 empty] | Y
61204 | Today's Power, Inc. | 62683 | Westside Wastewater Treatment Plant Hybrid | AR | Washington | FAYWB | OP | Batteries | BA | Commercial Non-CHP | 4 | 6 | 6 | 6 | 7 | 2019 | 13.1 | 6 | 6 | LIB |  |  |  | 6 | BL | [6 empty] | Y
40215 | Cordova Electric Coop, Inc | 62714 | Eyak Service Center BESS | AK | Valdez Cordova | BESS1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2019 | 0.9 | 1 | 1 | LIB |  |  |  | 0.8 | CS |  | Y | Y | Y |  |  | Y | Y | Y
62652 | East Hampton Energy Storage Center, LLC | 62733 | East Hampton Energy Storage Center | NY | Suffolk | BEH | OP | Batteries | BA | IPP Non-CHP | 2 | 5 | 5 | 5 | 8 | 2018 | 40 | 5 | 5 | LIB |  |  |  | 5 | BL | Y |  |  | Y |  |  | Y |  | Y
62651 | Montauk Energy Storage Center, LLC | 62734 | Montauk Energy Storage Center | NY | Suffolk | BME | OP | Batteries | BA | IPP Non-CHP | 2 | 5 | 5 | 5 | 2 | 2019 | 40 | 5 | 5 | LIB |  |  |  | 0.7 | BL | [6 empty] | Y
63332 | Acushnet | 62835 | Acushnet Ball Plant 2 | MA | Bristol | ESS-1 | OP | Batteries | BA | Industrial Non-CHP | 6 | 1 | 1 | 1 | 6 | 2019 | 2 | 1 | 1 | LIB |  |  |  | 1 | CS | [6 empty] | Y |  |  |  | Y
63332 | Acushnet | 62835 | Acushnet Ball Plant 2 | MA | Bristol | ESS-2 | OP | Batteries | BA | Industrial Non-CHP | 6 | 0.5 | 0.5 | 0.5 | 6 | 2019 | 1 | 0.5 | 0.5 | LIB |  |  |  | 0.5 | CS | [6 empty] | Y |  |  |  | Y
62707 | Marengo Battery Storage LLC | 62856 | Marengo Battery Storage LLC | IL | McHenry | MBSS | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 12 | 2018 | 20 | 20 | 20 | LIB |  |  |  | 23.4 | CS |  | Y
61522 | Viridity Energy Solutions, Inc. | 62907 | Hinesburg | VT | Chittenden | VEC | OP | Batteries | BA | IPP Non-CHP | 2 | 1.9 | 1.9 | 1.9 | 9 | 2019 | 1.9 | 1.9 | 1.9 | LIB |  |  |  | 1.9 | CS |  | Y | Y |  |  |  | Y
62731 | Gopher Energy Storage, LLC | 62908 | Anoka BESS | MN | Anoka | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 6 | 6 | 6 | 12 | 2018 | 12 | 6 | 6 | LIB |  |  |  | 4.9 | CS | [5 empty] | Y | Y |  |  |  | Y
62731 | Gopher Energy Storage, LLC | 62937 | Athens BESS | MN | Isanti | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 6 | 6 | 6 | 12 | 2018 | 12 | 6 | 6 | LIB |  |  |  | 4.9 | CS |  |  |  |  | Y |  | Y |  |  |  | Y
56404 | National Grid | 62981 | East Pulaski BESS | NY | Oswego | BESS | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 12 | 2018 | 4.2 | 2 | 2 | LIB |  |  |  | 0.6 | CS |  |  | Y |  |  | Y | Y
62876 | Department of the Army, Fort Carson | 63022 | Fort Carson Battery Energy Storage System | CO | El Paso | 1 | OP | Batteries | BA | Commercial Non-CHP | 4 | 4.2 | 4.2 | 4.2 | 12 | 2018 | 8.5 | 4.2 | 4.2 | LIB |  |  |  | 1.4 | CS | [7 empty] | Y
62731 | Gopher Energy Storage, LLC | 63090 | Athens - Coopers Corner BESS | MN | Isanti | COOPR | OP | Batteries | BA | IPP Non-CHP | 2 | 3 | 3 | 3 | 12 | 2018 | 6 | 3 | 3 | LIB |  |  |  | 4.9 | CS |  |  |  |  | Y |  | Y |  |  |  | Y
62894 | Imeson Solar Farm LLC | 63186 | Imeson Solar | FL | Duval | IMESS | OP | Batteries | BA | IPP Non-CHP | 2 | 5 | 5 | 5 | 12 | 2019 | 3.8 | 1.5 | 1.5 | LIB |  |  |  | 4 | CS | [6 empty] | Y
15470 | Duke Energy Indiana, LLC | 63324 | Camp Atterbury Microgrid Hybrid | IN | Johnson | ES1 | OP | Batteries | BA | Electric Utility | 1 | 5 | 5 | 5 | 11 | 2019 | 5 | 5 | 5 | FLB |  |  |  | 3.3 | BL |  | Y |  |  |  |  | Y |  |  | Y | Y
63163 | Kearsarge Amesbury LLC | 63398 | Kearsarge Amesbury Hybrid | MA | Essex | AMBAT | OP | Batteries | BA | IPP Non-CHP | 2 | 1.6 | 1.6 | 1.6 | 12 | 2019 | 3.8 | 1.5 | 1.5 | LIB |  |  |  | 1.6 | CS |  |  |  |  | Y | [5 empty] | Y
63246 | EDF Renewables Distributed Solutions, Inc | 63412 | San Diego Zoo | CA | San Diego | SDZOO | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 10 | 2019 | 4 | 1 | 1 | LIB |  |  |  | 1.6 | CS | N | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63609 | Allergan | CA | Orange | ALRGN | OP | Batteries | BA | Commercial Non-CHP | 4 | 1.5 | 1.5 | 1.5 | 7 | 2019 | 9 | 1.5 | 1.5 | LIB |  |  |  | 1.5 | OT | Y | [6 empty] | Y
61344 | Advanced Microgrid Solutions | 63610 | Baker | CA | Orange | BAKER | OP | Batteries | BA | Commercial Non-CHP | 4 | 1.2 | 1.2 | 1.2 | 4 | 2019 | 6.3 | 1.2 | 1.2 | LIB |  |  |  | 1.2 | OT | Y | [5 empty] | Y | N
61344 | Advanced Microgrid Solutions | 63611 | CSU Long Beach | CA | Los Angeles | CSULB | OP | Batteries | BA | Commercial Non-CHP | 4 | 2.5 | 2.5 | 2.5 | 3 | 2017 | 15 | 2.5 | 2.5 | LIB |  |  |  | 2.5 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63612 | DATS | CA | Orange | DATS0 | OP | Batteries | BA | Commercial Non-CHP | 4 | 1 | 1 | 1 | 4 | 2017 | 6 | 1 | 1 | LIB |  |  |  | 1 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63613 | Downey | CA | Los Angeles | DOWNY | OP | Batteries | BA | Commercial Non-CHP | 4 | 2 | 2 | 2 | 12 | 2019 | 13 | 2 | 2 | LIB |  |  |  | 2 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63614 | LAWRP | CA | Orange | LAWRP | OP | Batteries | BA | Commercial Non-CHP | 4 | 1 | 1 | 1 | 4 | 2019 | 5 | 1 | 1 | LIB |  |  |  | 1 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63615 | Long Beach Convention Center | CA | Los Angeles | LBCON | OP | Batteries | BA | Commercial Non-CHP | 4 | 1.5 | 1.5 | 1.5 | 4 | 2019 | 8.6 | 1.5 | 1.5 | LIB |  |  |  | 1.5 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63616 | OCSD | CA | Orange | OCSD1 | OP | Batteries | BA | Commercial Non-CHP | 4 | 4.9 | 4.9 | 4.9 | 8 | 2019 | 32.6 | 4.9 | 4.9 | LIB |  |  |  | 4.9 | OT | Y | [5 empty] | Y
61344 | Advanced Microgrid Solutions | 63617 | SOCCD | CA | Orange | SOCCD | OP | Batteries | BA | Commercial Non-CHP | 4 | 1.3 | 1.3 | 1.3 | 6 | 2019 | 7.2 | 1.3 | 1.3 | LIB |  |  |  | 1.3 | OT | Y | [5 empty] | Y

## Retired and Canceled
2019 Form EIA-860 Data - Schedule 3, 'Energy Storage Data' (Retired & Canceled Units Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Retirement Month | Retirement Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
59155 | First Wind O&M, LLC | 57087 | Kahuku Wind Power LLC | HI | Honolulu | 2 | RE | Batteries | BA | IPP Non-CHP | 2 | 15 | 15 | 15 | 3 | 2011 | 8 | 2013 | 15
11204 | Los Alamos County | 58256 | Los Alamos PV Site | NM | Los Alamos | 2 | RE | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 9 | 2012 | 11 | 2019 | 6 | 1 | 1 | NAB |  |  |  | 0.5 | CS |  |  |  | Y | [5 empty] | Y
11204 | Los Alamos County | 58256 | Los Alamos PV Site | NM | Los Alamos | 3 | RE | Batteries | BA | Electric Utility | 1 | 0.8 | 0.8 | 0.8 | 9 | 2012 | 11 | 2019 | 2.3 | 0.8 | 0.8 | PBB |  |  |  | 0.5 | CS |  |  |  | Y | [5 empty] | Y
10071 | Kauai Island Utility Cooperative | 58640 | KRS II Koloa Solar | HI | Kauai | BESS3 | RE | Batteries | BA | Electric Utility | 1 | 1.5 | 1.5 | 1.5 | 6 | 2014 | 5 | 2018 | 1 | 0.7 | 1.5 | PBB |  |  |  | 1.5 | CS |  | Y
59997 | Customized Energy Solutions | 60214 | ESS Wesel | MD | Washington | ESSWL | CN | Batteries | BA | IPP Non-CHP | 2 | 6 | 6 | 6 |  |  |  |  | 3 | 6 | 6 | LIB |  |  |  | 6 | CS
59997 | Customized Energy Solutions | 60215 | ESS Fairgrounds | MD | Washington | ESSFG | CN | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 |  |  |  |  | 2 | 4 | 4 | LIB |  |  |  | 4 | CS
59997 | Customized Energy Solutions | 60216 | ESS Lewes | DE | Sussex | ESSLS | CN | Batteries | BA | IPP Non-CHP | 2 | 8 | 8 | [5 empty] | 4 | 8 | 8 | LIB |  |  |  | 4 | BL
60388 | Mission Rock Energy Center, LLC | 60650 | Mission Rock Energy Center Hybrid | CA | Ventura | BA1 | CN | Batteries | BA | IPP Non-CHP | 2 | 25 | 25 | 25
20169 | Avista Corp | 60675 | Turner Energy Storage Project | WA | Whitman | TES | RE | Batteries | BA | Electric Utility | 1 | 1.2 | 1.2 | 1.2 | 4 | 2014 | 9 | 2018 | 3.2 | 1.2 | 1.2 | FLB |  |  |  | 1 | CS | Y | Y | Y | Y | Y |  | Y | Y | Y |  | Y
59380 | Enel Green Power NA, Inc. | 61802 | Kingston Energy Storage, LLC | CA | Madera | 10001 | CN | Batteries | BA | IPP Non-CHP | 2 | 50 | 50 | 50